## Equipment List
ITB 2025-UMATILLA-C2-020525 - Category 2 Internal Connections (Attachment A)
ATTACHMENT A - COST PROPOSAL FORM
Equipment List
Bidder:
SPIN:
Part Number | Model Description | Notes | Quantity | Eligible Cost | Ineligible Cost | Unit Price | Extended Price
(or equivalent) | (or equivalent) | (Specify proposed alternative equivalent brand and model number here.)
SRYL5K15RMXLT | APC Smart-UPS Modular Ultra On-Line 5kW 9U Rackmount Scalable to 15kW N+1 208/240V Touchscreen Network Management Card |  | 1 |  |  | 0 | 0
SRYL5KPMT | APC Smart-UPS Modular Ultra 5kW/5kVA Power Module 208V |  | 2 |  |  | 0 | 0
SRYLBM | APC Smart-UPS Modular Ultra Lithium-ion Battery Module for Extended Runtime |  | 2 |  |  | 0 | 0
SRYLOPT1 | APC Smart-UPS Modular Ultra 4 Post UPS Rail Kit |  | 1 |  |  | 0 | 0
SRYLPD1 | APC Backplate Kit with 3x NEMA L5-20R Outlets for Smart-UPS Modular Ultra |  | 2 |  |  | 0 | 0
E7-Audience | E7 Audience Enterprise-grade, indoor/outdoor access point designed for high-density environments |  | 1 |  |  | 0 | 0
U7-PRO | Access Point WiFi 7 Pro |  | 30 |  |  | 0 | 0
FREIGHT | Estimated Freight
TOTAL | [6 empty] | 0