

**Managed Internal Broadband Service**

Sherwood School District is seeking bids for approximately 8 Wyebot Wireless Intelligent Platform Sensor subscriptions or equivalent.

This managed service must be a cloud managed Wi-Fi diagnostic monitoring tool that is vendor agnostic with proactive and reactive troubleshooting capabilities. The sensor devices must be 2.4Ghz and 5Ghz capable and have at least 3 Wi-Fi radios that are 802.11ac or higher. It must be able to do 24/7 data collection with historical analytics. Should include capability to perform a suite of network tests over wired and wireless networks remotely, including packet capture capabilities. The sensors need to have Bluetooth and spectrum analysis capability built in.

 The vendor must provide pricing for 1-, 3-, and 5-year plans; including hardware upgrades and replacement warranty, technical support and maintenance, and software upgrades for the entire duration of each plan offering.

**SUBMISSION**

Electronic Submission Portal must be used.

<https://erate.imesd.k12.or.us/submission/Z0rZZ3EbK7PQ2mzAJdHP>

**BID INSTRUCTIONS**

* **Bidders must complete: 2025-Sherwood-MIBS (Attachment A)**
* SPIN should be plainly displayed on quote
* E-rate eligible and ineligible costs **must** be separated.
* A manufacturer’s multi-year warranty for a period up to three years that is provided as an integral part of an eligible component, without a separately identifiable cost, may be included in the cost of the component.
* Include an estimate of freight charges based upon all items quoted.
* All products are required to be new (no grey market products) with original manufacturer’s warranty. Service provider must be an authorized reseller of the represented manufacturer.
* Bidders should propose their Lowest Corresponding Price (LCP) (*as required by the SLD 1996* *Universal Service Order, 12 FCC Rcd 87, 383, para. 540*) .
* All proposals considered must follow State Procurement Laws
* The District reserves the right to solely determine equivalency and compatibility.
* All future orders are contingent on E-rate funding and Administration approval at the discretion of the District, who reserves the exclusive right to deny any or all proposals associated with this RFP, even with E-rate funding approvals. All quantities are approximate.
* Service Providers must be and remain in compliance of requirements issued by the SLD throughout the contractual period.
* Per USF National Security Rule [FCC 19-121](https://www.google.com/url?sa=t&rct=j&q=&esrc=s&source=web&cd=1&ved=2ahUKEwjJg5WEiebmAhWTpp4KHZisCH4QFjAAegQIBxAC&url=https%3A%2F%2Fdocs.fcc.gov%2Fpublic%2Fattachments%2FFCC-19-121A1.pdf&usg=AOvVaw3sjLCEGe3acP5x6lMiQ-ah) barring the use of USF funding to purchase equipment for E-rate purposes, Service Providers are certifying that the proposed equipment is not from a company with an FCC Designation as a National Security threat.
* The proposal should not include marketing or advertising material or other materials not essential to the utility and clarity of the proposal and should be straightforward and address the request.
* The District reserves the right to solely determine equivalency and compatibility.

**DISQUALIFICATION FACTORS**

* Late submission
* Not SLD compliant
* Proposal not relevant to Services Requested
* Proposal includes equipment from Huawei Technologies Company, ZTE, Hytera, Hangzhou Hikvision or Dahua, or any of their parents, affiliates, and subsidiaries.
* SPAM and/or robotic responses will not be considered valid responses and will be disqualified from consideration