QUESTIONS & ANSWERS

| # | Question | District Response |
| --- | --- | --- |
| 1 | Regarding section 2.2.4 Preferred Construction Method on page 8 of the RFP - The section indicates a preference for "new fiber construction to be installed as buried fiber in armored conduit". Could you please clarify if "armored conduit" refers to armored fiber optic cable or if it refers to installing new fiber within galvanized steel piping? | Armored conduit refers to a protective conduit, such as galvanized steel or armored HDPE, designed to safeguard the fiber against crushing, rodent damage, and excavation activities. The District is not specifying a particular conduit type but expresses a preference for protected conduit installations to minimize risk and enhance durability. |