## Equipment List
RFP 2026-PARKROSE SD-C2 - ERate Category 2 Internal Connections (Attachment A)
ATTACHMENT A - COST PROPOSAL FORM
Equipment List
Bidder:
SPIN:
Part Number | Model Description | Notes | Quantity | Eligible Cost | Ineligible Cost | Unit Price | Extended Price
(or equivalent) | (or equivalent) | (Specify proposed alternative equivalent brand and model number here.)
SMART2200RM2UL | UPS - EATON Tripp Lite Series 2200VA 1920W UPS Smart Lithium Ion LiFePO4 LCD USB DB9 2URM |  | 9 |  |  | 0 | 0
SMART1500RM2UL | UPS - EATON Tripp Lite Series 1500VA 1440W UPS Smart Lithium Ion LiFePO4 2U EXCLUSIVE PRICE |  | 13 |  |  | 0 | 0
E2MTHDI | SENSOR - UPS - EATON Tripp Lite Series EnviroSense2 Sensor Module for Temperature and Humidity, TAA |  | 22 |  |  | 0 | 0
2POSTRMKITWM | RACK - UPS - EATON Tripp Lite Series 2-Post Rackmount / Wallmount Installation Kit Select UPS |  | 12 |  |  | 0 | 0
WEBCARDLXE | NETWORK CARD - EATON Tripp Lite Series WEBCARDLXE Network Management Card for Select UPS Systems, TAA |  | 22 |  |  | 0 | 0
OM-816336C-700 | BATTERY PACK - APC 0M-816336 Replacement Battery Pack (2 units each) |  | 2 |  |  | 0 | 0
OM-816336F-700 | BATTERY PACK - Battery Cartridges (2 units each) |  | 4 |  |  | 0 | 0
OM-816336A-700 | BATTERY PACK - Battery Cartridges (2 units each) |  | 2 |  |  | 0 | 0
FREIGHT | Estimated Freight
TOTAL | [6 empty] | 0