## E-rate C2 Switches
ITB 2026-REDMOND SD-C2 - Category 2 Internal Connections (Attachment A)
ATTACHMENT A - COST PROPOSAL FORM
Equipment List
Bidder:
SPIN:
Part Number | Model Description | Notes | Quantity | Eligible Cost | Ineligible Cost | Unit Price | Extended Price
(or equivalent) | (or equivalent) | (Specify proposed alternative equivalent brand and model number here.)
C9200CX-12P-2X2G-E | Switch - Cisco Catalyst 9200CX - Network Essentials |  | 4 |  |  | 0 | 0
CON-SNT-C9200C88 | Software Support - SNTC-8X5XNBD Catalyst 9200CX-12P-2X2G-E |  | 4 |  |  | 0 | 0
C9200CX-DNA-E-12 | License - C9200CX DNA Essentials (3 years) |  | 4 |  |  | 0 | 0
C9200CX-NW-E-12 | License - Cisco Network Essentials License - 1 switch (12 ports) |  | 4 |  |  | 0 | 0
RACKMNT-19-CMPACT | Rack Mount - 19 in 9200CX switch |  | 4 |  |  | 0 | 0
C9200CX-12P-2X2G-E-EDU* | Switch Education Bundle - Switch C9200CX-12P-2X2G-E + Support CON-SNT-C9200C88 | If Available | 4
C9500-24X-E | Switch - Cisco Catalyst 9500-24X-E |  | 1 |  |  | 0 | 0
CON-SNT-C9500 | SNTC 8X5XNBD CATALYST 9500-24X-E |  | 1 |  |  | 0 | 0
C9500-DNA-E-3Y | DNA Essentials for C9500-24X-E 3YR |  | 1 |  |  | 0 | 0
PWR-C1-715WAC | Power supply for C9500-24X-E |  | 1 |  |  | 0 | 0
C9500-24X-E-EDU* | Switch Education Bundle - Switch C9500-24X-E + Support CON-SNT-C9500 | If Available | 1
FREIGHT | Estimated Freight
TOTAL | [6 empty] | 0
Proposers must distinguish ineligible costs using the following link: https://www.ciscoerate.com/ProductEligibility/
*The District would like to compare costs for both the switch EDU bundles and switch and support separately. Please quote both options if available.

## E-rate C2 UPS
ITB 2026-REDMOND SD-C2 - Category 2 Internal Connections (Attachment A)
ATTACHMENT A - COST PROPOSAL FORM
Equipment List
Bidder:
SPIN:
Part Number | Model Description | Notes | Quantity | Eligible Cost | Ineligible Cost | Unit Price | Extended Price
(or equivalent) | (or equivalent) | (Specify proposed alternative equivalent brand and model number here.)
AP4450A | APC Netshelter Rack Automatic Transfer Switch, 1U, 15A, 100/120V, 5-15 IN, 10 5-15R OUT, 50/60Hz |  | 9
AP9563 | APC NetShelter Basic Rack PDU, 1U, 20A, 120V, 10 NEMA 5-20 outlets, 5-20P inlet |  | 2
FREIGHT | Estimated Freight